AECOM_1c-white_rgb

|  |  |  |
| --- | --- | --- |
|  |  |  |

|  |
| --- |
| Ringsend to City Centre Core Bus Corridor Concept Design  Preliminary Safety & Health Plan  National Transport Authority      October 2017 |

Table of Contents

1. Project Description 3

1.1 Scope and Purpose of Preliminary Safety and Health Plan 3

1.2 Project Description 3

1.3 Project Programme 4

1.4 Details of Clients, PSDP, Designer(s) & Other Consultants 4

1.5 Arrangements of Communications 4

1.6 Existing Records & Plans 5

2. Client Considerations & Management Requirements 6

2.1 Arrangements 6

3. Environmental Restrictions & Existing On-Site Risks 7

3.1 Safety Hazards 7

3.2 Health Hazards 7

3.3 Welfare Facilities 8

4. Significant Design & Construction Hazards 9

4.1 Design Assumptions & Suggested Control Measures 9

4.2 Co-ordination of On-going Design Work & Design Changes 9

4.3 Details of Design Elements and Activities that Involve Particular Risk and Measures to Reduce Risk 10

4.4 Information on Other Significant Residual Hazards Identified During Design 12

4.5 Materials Requiring Particular Precautions 13

5. Safety File 14

5.1 Purpose 14

5.2 Contents & Information Required 14

# Project Description

## Scope and Purpose of Preliminary Safety and Health Plan

For the purposes of this project (Ringsend to City Centre CBC), this document shall constitute the Preliminary Safety and Health Plan as required by regulation 12 of the Safety, Health and Welfare at Work (Construction) Regulations, 2013 (hereinafter referred to as the Construction Regulations).

This document has been prepared for the purpose of providing information for the Project Supervisor Construction Process [PSDP] who will further develop it as the design progresses, as required by regulation 16 of the Construction Regulations.

## Project Description

The Ringsend to City Centre Core Bus Corridor will involve the provision of approximately 5.1km from Church Avenue to the City Quays, via Seán Moore Road, Pidgeon House Road, York Road, Thorncastle Street, The proposed Dodder Bridge, Sir John Rogerson’s Quay, City Quay, Butt Bridge, Custom House Quay, North Wall Quay and Samuel Beckett Bridge. Works are likely to include, but not be limited to, the provision of new footways and cycleways, bus lanes, traffic lanes and all associated signage, traffic signals, services works and other ancillary works.

Specifically the Contract is proposed to include the following:

1. Modification of existing signalised junction to facilitate raised levels of pavement, new bus and turning lanes and provision of improved pedestrian and cyclist crossing facilities.
2. Removal of existing central islands.
3. Planning and replacement of the existing surface course along the route.
4. Construction of new cycle lanes along the route.
5. Construction of new ramped pedestrian crossings at the entrances to minor roads at various locations along the route.
6. Construction of tactile paving and dropped kerbs at new pedestrian road crossings.
7. Introduction of new signage and road markings along the carriageway as well as proposed footpaths and cycle lanes.
8. Construction of dropped kerbs at vehicular accesses along the route.
9. Provision of parking facilities along the route.
10. Provision of new ducting and drainage works.
11. Provision of new bus lane including new bus shelters, passenger information (RTPI) signs etc.
12. The removal and replacement of public lighting columns and lanterns.
13. Provision of new traffic signals and controllers along the route.
14. Installation of infrastructure for utility companies along parts of the route.
15. The removal/relocation of vegetation and trees, and new planting.
16. The provision of hard and soft landscaping.
17. The provision of new boundary treatments where required.

## Project Programme

The following planned construction dates have been determined based on experience of the time required to complete other similar works and taking into account local constraints.

Key Dates

|  |  |
| --- | --- |
| Planned Start of Construction: | 2019/20 (Estimated) |

## Details of Clients, PSDP, Designer(s) & Other Consultants

|  |  |
| --- | --- |
| Client | Name: National Transport Authority  Address: Dún Scéine, Harcourt Lane, Dublin 2, D02 WT20  Contact: David King  Email: David.King@nationaltransport.ie |
| PSDP | Name: AECOM Ireland Ltd  Address: Adelphi Plaza, Upper Georges Street, Dun Laoghaire, Co. Dublin, A96 T927.  Contact: Colin Acton  Email: colin.acton@aecom.com |
| Designer(s) | Name: AECOM Ltd  Address: Adelphi Plaza, Upper Georges Street, Dun Laoghaire, Co. Dublin, A96 T927.  Contact: Joe Seymour  Email: joseph.seymour@aecom.com |
| PSCS | Name: To be appointed  Address:  Contact:  Email: |
| Contractor | Name: To be appointed  Address:  Contact:  Email: |
| Other Contractors | Name: To be appointed  Address:  Contact:  Email: |

## Arrangements of Communications

All communication and liaison between the parties named above shall be via email to the nominated contact.

The project is of such a scale and duration that written notice (Form AF1) of the PSDP appointment was sent to the Health and Safety Authority [HSA] by the Client before the Design Process began, as required by Regulation 10 of the Construction Regulations.

The project is of such a scale and duration that written notice (Form AF2) is to be sent to the HSA by the PSCS before work begins as required by Regulation 22 of the Construction Regulations.

## Existing Records & Plans

Some existing drawings for designs and utilities are available although they have not been provided as a full set and no reliance can be made at this stage of development for anything indicated on them.

# Client Considerations & Management Requirements

## Arrangements

To Be Updated as the Design Progresses.

# Environmental Restrictions & Existing On-Site Risks

## Safety Hazards

**Boundaries & Access, including Temporary Access**

Realignment and improvement works are proposed to the R131/R801/R802 (effectively from Church Avenue, to North Wall Quay in the City Centre) for approximately 5,100m. Works to include, but not be limited to, the provision of new footways and cycleways, bus lanes, traffic lanes and all associated signage, traffic signals, services works and other ancillary works. During the works pedestrians, cyclists and vehicular traffic will continue to use all the public roads and private accesses on / off the public road.

In particular there are busy pedestrian routes around signalised junctions and bus stops as well as vehicular accesses to the various adjacent residential properties. The works will also be immediately adjacent to major destinations such as Dublin City Centre, Ringsend College, Dublin Bay Power Station, DWTE Dublin Waste to Energy (Covanta Plant), ESB Poolbeg, Irishtown Stadium, Dublin Port Ferryport, Shelbourne Park, The Aviva Stadium, Facebook, The Convention Centre, The 3 Arena and the Bord Gais Theatre.

**Adjacent Land Uses**

The land uses adjacent to the site are as follows:

* Private residences with individual private accesses are located throughout the length of the works area.
* Various Sports Clubs and Grounds (Clann na Gael Fontenoy GAA club, Irishtown Sports Stadium, St. Pats Rowing Club etc.)
* Ringsend College.
* Dublin Port Ferryport.
* DWTE Dublin Waste to Energy (Covanta Plant).
* Dublin City Centre.
* ESB Poolbeg.
* Bord Gais Theatre.
* The Irish Emigration and Maritime Museums.
* The 3 Arena.

**Activities on or Adjacent to the Site**

To Be Assessed Later.

**Location of Existing Services – Water, Electricity, Gas etc.**

The location and status of existing overhead and buried services will need to be assessed at the next design stage.

**Ground Conditions**

Ground Conditions will need to be assessed at a later design stage.

## Health Hazards

**Asbestos, including Details of Surveys & Management Plans**

To Be Assessed Later.

**Existing Storage of Hazardous Materials**

To Be Assessed Later.

**Health Risks Arising from Client Activities**

To Be Assessed Later.

## Welfare Facilities

**Contractors Compound**

To Be Assessed Later.

**Existing Services to Facilitate Welfare Facilities**

To Be Assessed Later.

# Significant Design & Construction Hazards

## Design Assumptions & Suggested Control Measures

The design to date has been based on available topographical surveys and OS Mapping. These are an amalgamation of many surveys undertaken at different times over 10 years or more. Therefore the design will need significant refinement when a project specific topographical survey becomes available. It is recommended that no further design work is undertaken until a project specific Topographical Survey is available.

## Co-ordination of On-going Design Work & Design Changes

Design is at Concept Stage only and significant additional design work will be undertaken prior to construction beginning.

## Details of Design Elements and Activities that Involve Particular Risk and Measures to Reduce Risk

| Particular Risks  (as set out in Schedule 1 of the Safety, Health and Welfare at Work (Construction) Regulations, 2013 | Specific Activity | Residual Hazard | Suggested Control |
| --- | --- | --- | --- |
| Work which puts persons at work at risk of falling from height, burial under earthfalls or engulfment in swampland, where the risk is particularly aggravated by the nature of the work or processes used or by the environment at the place of work or construction site. | All construction works | Falling from height | Contractor to ensure adequate traffic management and safe working practices implemented. |
| Work which puts persons at work at risk from chemical or biological substances constituting a particular danger to the safety and health of such persons or involving a statutory requirement for health monitoring. | None | None | N/A |
| Work with ionising radiation requiring the designation of controlled or supervised areas as defined in Directive 96/29/Euratom (OJ L159 29.06.1996, p.1) | None | None | N/A |
| Work near high voltage power lines. | Excavation in the existing carriageway or footway | Risk of striking buried high voltage power lines. | Designer to obtain existing record drawings and undertake slit trench surveys prior to tender. This information should be provided to contractor. The Contractor to take cognisance of these existing record drawings and slit trench survey information. Contractor to contact ESB and to take appropriate measures to identify precise location of all high voltage power lines prior to excavation commencing. |
| Work near gas main. | Excavation in the existing carriageway or footway | Risk of striking buried gas main or gas transmission main. | Designer to obtain existing record drawings and undertake slit trench surveys prior to tender. This information should be provided to contractor. Contractor to take cognisance of existing record drawings and slit trench survey provided in the Information Pack. Contractor to contact Bord Gais and to take appropriate measures to identify precise location of all gas mains prior to excavation commencing. No work shall be undertaken within the vicinity of existing Bord Gáis pipelines without the prior formal consent of Bord Gáis/Gas Network Ireland |
| Work exposing persons at work to the risk of drowning. | None | None | NA |
| Work on wells, underground earthworks, and tunnels. | None | None | N/A |
| Work carried out by divers at work having a system of air supply. | None | None | N/A |
| Work carried out in a caisson with a compressed-air atmosphere. | None | None | N/A |
| Work involving the use of explosives. | None | None | N/A |
| Work involving the assembly or dismantling of heavy prefabricated components. | None | None | N/A |

## Information on Other Significant Residual Hazards Identified During Design

(A Significant Hazard is one that is either not obvious to a competent contractor, unusual or difficult to manage).

| Other Significant Hazard | Specific Activity | Residual Hazard | Suggested Control |
| --- | --- | --- | --- |
| Working in close proximity to members of the public | All construction works | Working in close proximity to members of the public | The contractor shall ensure that adequate safety measures are in place to prevent any risk of injury to members of the public who are in close proximity to the construction site. |
| Striking overhead lines | All construction works | Risk of striking overhead power lines | All staff are to be given a site induction prior to working on site.  Where vehicles/plant are operating in the vicinity of overhead electricity lines precautions are to be taken by the contractor to ensure the overhead lines are not struck and also applying safe working distances/exclusion zone in accordance with industry practice, to account for electrical arcing. |
| High number of HGV traffic in the area. | All construction works | Construction workers or members of the public hit by HGV | Contractor to ensure adequate safety measures are taken i.e. barriers, use of netting, hazard warning signs, lookout, pedestrian diversions. |
| Working adjacent to on-going live road works (say Metro North Works underway) | Erection and operation of temporary traffic management measures | Interaction of the temporary traffic management measures with similar measures in place under another contract | Client to ensure that PSCS for all projects along the route liaise to avoid any interaction of two sets of temporary traffic management measures |
| Working in close proximity to live traffic and large numbers of pedestrians (at retail outlets, schools, Churches, Playing Fields). | All construction works | Personal injury to members of the public or employees of the contractor. | Adequate traffic management and secure site to control movement of traffic and pedestrians.  Lane closures when required to allow the works to be undertaken safely. |
| Works to existing footpaths | All construction works | Risk to public injury due to stepping onto road and being stuck by passing vehicle | Use appropriate traffic management measures as per Chapter 8 (2010) Traffic Signs Manual, Guidance for the Control and Management of Traffic at Road Works (2010) and Health, Safety and Welfare at Work Act, (Construction) (Regulations 2006).  Maintain pedestrian route or provide adequate alternative safe pedestrian route. |

## Materials Requiring Particular Precautions

| Other Significant Hazard | Specific Activity | Residual Hazard | Suggested Control |
| --- | --- | --- | --- |
| Working under Bridge below live Railway Lines | All construction works | To be determined. | Liaise with Irish Rail prior to starting any works in the vicinity of the bridges. |
| None | None | None | N/A |
|  |  |  |  |

# Safety File

## Purpose

In accordance with the SHW at Work (Construction Regulations) 2013 the PSDP must prepare a Safety File for this project and present it to the Client when the project is complete. The Safety File is a record of information for the end user, which focuses on safety and health. The information it contains will alert those who are responsible for the structure and services in it of the significant safety and health risks that will need to be addressed during subsequent maintenance, repair or refurbishment, extension or other construction work or, indeed, its demolition.

In order to prepare the Safety File, the PSDP needs to receive appropriate information from designers, Project Supervisor Construction Stage (PSCS), Contractors and other duty holders. The PSDP will need to obtain details from the PSCS in relation to details of services, plant and the project equipment, which compromise part of the structure from specialist supply and installation contractors, as well as from statutory bodies and local authorities, where appropriate.

## Contents & Information Required

Procedures will be set up for obtaining and collating the information to be included in the Safety File. These procedures will detail what information is to be collected and how it is to be collected, presented and stored.

Information to be included in the Safety File is given below:

* Construction drawings, specifications and bills of quantities, used and produced throughout the construction process
* The general design criteria adopted and details of the equipment and maintenance facilities within the structure
* Maintenance procedures and requirements for structure
* Manuals and where appropriate certificates, produced by specialist contractors and suppliers which outline operating and maintenance procedures and schedules for plant and equipment installed as part of the structure (typically lifts, electrical and mechanical installations, pressure vessels, control and instrumentation systems, window cleaning facilities) and
* Details of the location and nature of utilities and services, including emergency and fire-fighting system

|  |  |
| --- | --- |
| AECOM Limited  4th Floor  Adelphi Plaza  Georges Street Upper  Co. Dublin  Ireland  T: +353 1 238 3100  aecom.com |  |
|  |  |